## Slide 1: Data processing and Instrument resolution function: beyond FWHM (full width at half-max) approximation
4D – convolution type equation
Similar equation is used for radar signal analysis
We analyse the signal approximating resolution function using FWHM approximation
If resolution function is known, the equation can be inverted by various methods (MaxEnt, Convolution theorem, etc…)
Modern radars development goes into constructing optimal R(Q,E) functions, and use advanced signal processing to recover S(Q,E)

## Slide 2: Inverting Convolution:
Bayesian analysis; || NI&M A287 1990 – Optimization of the resolution functions for neutron scattering;
Recovered signal
Cut-off frequency

## Slide 3: Reality check:
Monochromatic neutrons
time profile

## Slide 4
Modern chopper spectrometers are optimized to provide equal resolution
spread due to energy spread and pulse time shape.

## Slide 5: Different optimization: minimize pulse time spread. (different chopper)
Cut-off frequency
Recovered signal

## Slide 6: Different optimization: minimize energy spread (time focusing monochromator, different moderator?)
Recovered signal

## Slide 7: Time focusing monochromator: No problem with resolution and convenient for small samples?

## Slide 8: Moderator profile

## Slide 9: Moderator pulse in energy vs velocity units
e (mEv)
(V m/sec)
t/1.3e-5 (sec)
t/1.3e-5 (sec)

## Slide 10: Moderator profile and chopper cuts shapes
Range1-> (E_chop = 150mEv)
t_range v_range
1.0e+03 *
-0.0017 5.3300
0.0003 5.3300
0.0039 5.5412
0.0059 5.5412
t
Range2-> (E_chop = 65.2mEv)
t_range v_range
1.0e+03 *
-0.0012 3.4854
0.0008 3.4854
0.0103 3.6725
0.0123 3.6725
v
1
2
3
4
5
Range3-> (E_chop = 35.8mEv)
t_range v_range
1.0e+03 *
0.0013 2.6060
0.0033 2.6060
0.0095 2.6784
0.0115 2.6784
t – moderator (in moderator opening times)
v - moderator
Range4-> (E_chop = 22.5mEv)
t_range v_range
1.0e+03 *
0.0027 2.0747
0.0047 2.0747
0.0108 2.1203
0.0128 2.1203
Range5-> (E_chop = 15.5mEv)
t_range v_range
1.0e+03 *
0.0034 1.7210
0.0054 1.7210
0.0039 1.7230
0.0059 1.7230
Incorrect range as v||t in moderator frame

## Slide 11: Moderator profile and chopper cuts shapes (better phasing)

## Slide 12: Time velocity distributions
Moderator profile rep 1 at chopper
Neutron’s time-velocity profile
rep 1 after chopper

## Slide 13: Move pulse from chopper to sample (calculated by propagate_pulse)

## Slide 14: Time-velocity distribution after inelastic scattering
Neutron’s time-velocity profile
rep 1 at sample
Neutron’s time-velocity profile
after scattering

## Slide 15: 2D time-velocity profile:
Velocity profile at sample at moment time t0: (assuming velocity transfer only at )
assuming probability distribution of transfer Dv as :
Time profile of the pulse at detector position:

## Slide 16: Velocity profile changes from sample to detector

## Slide 17: Velocity distribution and its recovery using standard data reduction

## Slide 18: Work in progress: