## Slide 1: Digital signal processing to increase resolution and efficiency of inelastic instruments
DSP is known method of improving efficiency of data acquisition instruments.
    (standard radar vs modern active phased array radar)
PACE project -- investigation of instrument resolution function
Tobyfit -- the package to use resolution function to help recovering the material’s
  dispersion
Objectives:
DSP as alternative way of extracting additional information about scattering process
from the knowledge of an instrument’s resolution function.
Effect of the correlations between the different signal’s components on the total
scattering and the recovery of the material dispersion.

## Slide 2: Scattering equation and its solutions in neutron scattering
Analysed within FWFM (full width at half-max) approximation
Tobyfitting would allow some limiting account for resolution function shape.

## Slide 3: Alternative approach: invert integral equation directly:
1D problem is easy invertible:
Cut-off frequency
Resolution function R
Signal to recover S(x)
Registered signal I(e)
Spectral intensities for:
Resolution function
Signal to recover
Registered signal I(e)
Recovered signal

## Slide 4: Model experiment. MERLIN, multirep mode, weakly-dispersive system:

## Slide 5: Simulated MERLIN Moderator profile with areas selected by chopper:

## Slide 6: Time velocity distributions
Moderator profile rep 1 at chopper
Neutron’s time-velocity profile
rep 1 after chopper

## Slide 7: Time-velocity distribution Moving pulse from chopper to sample

## Slide 8
Time-velocity distribution after inelastic scattering
Neutron’s time-velocity profile
rep 1 at sample
Neutron’s time-velocity profile
after scattering at sample
Time at sample

## Slide 9: Velocity profile changes from sample to detector (rep 1)
Velocity
Velocity
Neutron’s time-velocity profile
after scattering at sample
Time at sample
Time at detector

## Slide 10: Time profile at a detector:
If no correlations between time and velocity components:
Can be solved as two 1-D inverse Fourier transformations:

## Slide 11: Velocity distribution and its recovery using standard data reduction procedure:
-- pulse velocity
-- velocity transfer

## Slide 12: Inverting integral equation
Fourier transformation:
Algebraic equation for velocity transfer Fourier components:

## Slide 13: Kernel of the matrix equation for the Fourier components
Cut-off frequency
Spectral intensities for:
Resolution function
Signal to recover
Registered signal I(e)
k
n

## Slide 14: Amplitudes of the integrals:

## Slide 15: Recovering scattering signal using deconvolution :
Recovered From results of the
convolution

## Slide 16: Recovered distribution, pseudo- streamlines method
No noise

## Slide 17: Resolution deconvolution. Direct Fourier Method
No noise
noisy signal
Spectrum

## Slide 18: Problems left
Nasty diffraction equation.
Q-dependance
Correct error calculations.
Noise and spurions.
New reduction software package.
k-resolution
Precise measurement of moderator profiles and chopper phase on the fly (MERLIN has problem with this)
Change in chopper packs to allow optimal neutron pules shape.

## Slide 19: Conclusion
Knowledge of instrument resolution function and DSP would provide substantial improvement in instrument resolution and beam usage.
More time and efforts needed to make it useful